| DuPont FS&RE Job Safety Analysis |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Post Completed Copy of this Form at Job Site |  |  |  |  |  |
| If still in effect after 7 days, this JSA shall be reviewed and updated |  |  |  |  |  |
| Author | Kevin Fraze (JCI) |  |  |  |  |
| Job Title | RTP CHILLER PUMP SHAFT SEAL REPLACEMENT |  |  | Site Security All Emergencies | 302-695-3131 |
| Location | E306 | Work Order # |  | Contract Order # |  |
| Start Date | 10/12/2017 | Completion Date |  | Rally point | E306 Parking Lot |
| Company | Johnson Controls | Job Lead | Kevin Fraze | Phone | 302-353-0315 |
| Building Contact | Paul Barnes | Location | E306 | Phone | 302-218-9996 |
| Safety Resource | Anita Sargable | Phone | 302-695-3728 | Cell Phone | 302-250-1293 |
| Reviewed By |  | Phone |  | Cell Phone |  |

Scope of Work / Job Description

Attached Sketch or Diagram of Work if Required (If at any time the scope of work changes, a new or revised JSA is required)

☐ Lock Out RTP Chiller and Chilled Water Pumps ☐ Drain Glycol from Pump #1 into drums ☐ Disconnect Pump #1 Wiring & Remove Motor Assembly from Pump Casing ☐ Remove and Replace Mechanical Shaft Seal ☐ Clean components and Re-install Motor Assembly into Pump Casing ☐ Re-Wire Pump Motor, Unlock and Restore Power to Chiller and Pumps ☐ Pump Drained Glycol back into System, Run Pumps, Vent Air, Add Additional Glycol as needed, & Verify Performance

Specialty Tools and Equipment Required

Basic Hand Tools, Multimeter, Glycol Pump

| General Conditions and Safety Review |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☐Contractor Safety handbook available | ☐N/A | ☐Respectful work environment | ☐N/A | ☐Sub-Contractors |  | ☐N/A |
| ☐Incident Reporting/Injury Mgt. | ☐N/A | ☐Hand Safety | ☐N/A | ☐Hazcom/SDSs |  | ☐N/A |
| ☐Barricading Work Areas | ☐N/A | ☐Vehicular Safety | ☐N/A | ☐Ergonomics |  | ☐N/A |
| ☐Material Delivery | ☐N/A | ☐Ladders and Scaffolds | ☐N/A | ☐Housekeeping |  | ☐N/A |
| ☐Smoking | ☐N/A | ☐Spills | ☐N/A |  |  |  |
| ☐Refrigerant certification records for HVAC technicians and SUVA awareness in mechanical rooms |  |  |  |  | ☐N/A |  |
| ☐Other ☐N/A |  |  |  |  |  |  |

| Personal Protective Equipment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐Hard hat | ☐N/A | ☐ Safety glasses | ☐N/A | ☐ Gloves | ☐N/A |
| ☐ Hearing protection | ☐N/A | ☐ Fall protection | ☐N/A | ☐ Respirator | ☐N/A |
| ☐ Goggles | ☐N/A | ☐ Hot suit | ☐N/A | ☐ Arc flash protection | ☐N/A |
| ☐ GFCI | ☐N/A | ☐ Face shield | ☐N/A | ☐ Cut-off box | ☐N/A |
| ☐ Chemical suit | ☐N/A | ☐ Tyvek® suit | ☐N/A | ☐Welding & Burning | ☐N/A |
| ☐ Electrical | ☐N/A | ☐ Other | ☐N/A |  |  |

| DuPont FS&RE Job Safety Analysis |  |  |  |
| --- | --- | --- | --- |
| Hazards Identified |  | Hazard Elimination or Control | Detail for Hazard Elimination/Control |
| ☐ Electrical | ☐N/A | ☐Lock-out plan ☐Line break | Chiller and Pump Disconnect Lock Out @ Unit |
| ☐ Potential to find Chemical hazards | ☐N/A | ☐Lock-out plan ☐Line break ☐Inspect Area |  |
| ☐ Utility interruption | ☐N/A | ☐Shut-down of building services |  |
| ☐ Electrically Hazardous Task | ☐N/A | ☐Limited ☐Restricted ☐Prohibited |  |
| ☐ Electrically Classified Area | ☐N/A | ☐Flame/hot work Permit ☐Air Monitoring |  |
| ☐ Asbestos, NARF’s, lead | ☐N/A | ☐NESHAPS (DES) |  |
| ☐ Explosive Atmospheres | ☐N/A | ☐Flame/hot work Permit ☐Air Monitoring |  |
| ☐ Respiratory irritants | ☐N/A | ☐Respirators |  |
| ☐ Welding, Burning, Soldering, Dust | ☐N/A | ☐Flame/hot work Permit ☐Life Safety Impairment |  |
| ☐ Confined space | ☐N/A | ☐Permit Required ☐Non-Permit Required |  |
| ☐ Trenching, digging, wall penetrations | ☐N/A | ☐Excavation permit ☐Shoring |  |
| ☐ Contaminated equipment | ☐N/A | ☐Release Tag |  |
| ☐ Working on roofs | ☐N/A | ☐Roof entry ☐Fall protection |  |
| ☐ Rigging work, hoisting | ☐N/A | ☐Equip. Inspection ☐Lift plan |  |
| ☐ Working in parking lots, roadways, etc. | ☐N/A | ☐Containment High ☐Visibility Clothing |  |
| ☐ Indoor Air Quality (Paint, Adhesives, Odors) | ☐N/A | ☐After Hour Work ☐Proper Ventilation |  |
| ☐ PSM, animal or food grade areas | ☐N/A | ☐Orientation required ☐Special Training |  |
| ☐ Elevated Work | ☐N/A | ☐Ladders ☐Scaffolding ☐Fall Prevention |  |
| ☐ Work above ceilings | ☐N/A | ☐Hard Hats ☐Goggles |  |
| ☐ Slips, Trips and Falls | ☐N/A | ☐Good housekeeping |  |
| ☐ Spills | ☐N/A | ☐Report all Spills to Security |  |
| ☐Other | ☐N/A | ☐Lock-out plan ☐Line break ☐Inspect Area |  |

| Applicable Permits & Procedures |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ☐Lock, Tag, Clear and Try | ☐N/A | ☐Confined Space Entry | ☐N/A | ☐Line Break | ☐N/A | ☐Fall Prevention | ☐N/A |
| ☐Work Permit | ☐N/A | ☐Electrical Shutdown | ☐N/A | ☐Hot Work Permit | ☐N/A | ☐Crane Permit | ☐N/A |
| ☐Wall / Floor Penetration Permit | ☐N/A | ☐Transfer of Equip. Proprietorship | ☐N/A | ☐Excavation Permit | ☐N/A | ☐Roof Entry | ☐N/A |
| ☐Decontamination of Equipment | ☐N/A | ☐Life Safety / Fire Protection Shutdown | ☐N/A | ☐Change of Design | ☐N/A | ☐NESHAPS | ☐N/A |
| ☐Other Permits / Procedures | ☐N/A |  |  |  |  |  |  |

| Employees on the Job |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Everyone working within the scope of this JSA must read and sign here before starting work. Attach additional sheets if necessary. |  |  |  |  |  |  |  |  |
| Name |  | Date | Name |  | Date | Name |  | Date |
| 1) |  |  | 4) |  |  | 7) |  |  |
| 2) |  |  | 5) |  |  | 8) |  |  |
| 3) |  |  | 6) |  |  | 9) |  |  |