|  | Customer: Sales Order No.: Project:. |
| --- | --- |

Site Pressure/Leak Test Certificate	1 of 1

| Client: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contract No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refer to Pressure Test instructions contained in this IOM manual. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required/Design Test Pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| High Side: |  |  |  |  |  |  |  |  |  | PSIG/KPA |  |  |  |  |  |  |  |  |  |
| Low Side: |  |  |  |  |  |  |  |  |  | PSIG/KPA |  |  |  |  |  |  |  |  |  |
| Actual Test Pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | High Side |  |  |  |  |  |  |  | Low Side |  |  |  |
| Date and Time |  |  |  |  |  |  |  |  |  |  |  | PSIG/KPA |  |  |  |  |  |  | PSIG/KPA |
| Date and Time |  |  |  |  |  |  |  |  |  |  |  | PSIG/KPA |  |  |  |  |  |  | PSIG/KPA |
| Pressure loss corrected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| for temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| change over: |  |  |  |  |  | hrs |  |  |  |  |  |  | PSIG/KPA |  |  |  |  |  | PSIG/KPA |
| NOTE: Test factory piping at 80% of relief valve setting. Leak test field erected piping at 100% of design pressure in accordance with the applicable piping code B31.5 B31.3 Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed |  |  |  |  |  |  |  |  |  |  | Print |  |  |  |  |  |  | Customer Rep |  |
| Signed |  |  |  |  |  |  |  |  |  |  | Print |  |  |  |  |  |  | York Int’l Rep |  |
|  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |