|  | Customer: Sales Order No.: Project:. |
| --- | --- |

Site Vacuum Test Certificate	1 of 1

| Client: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contract No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refer to Evacuation Test instructions in this IOM manual. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required Vacuum Hold |  |  |  |  |  |  |  | Microns HG Abs / m Bar A for Hours |  |  |  |  |  |  |
| Rise: |  |  |  |  |  |  |  | Microns HG Abs / m Bar A |  |  |  |  |  |  |
| Actual Vacuum Hold |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Temperature |  |  |  |
| Date and Time |  |  |  |  |  |  | Microns HG Abs / (m Bar A) |  |  |  |  |  |  | °F / °C |
| Date and Time |  |  |  |  |  |  | Microns HG Abs/ (m Bar A) |  |  |  |  |  |  | °F / °C |
| NOTE: It is recommended that the system be evacuated to 2000 microns absolute pressure with a maximum pressure rise of 2000 microns in a four hour test period. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed |  |  |  |  |  |  |  | Print |  |  |  |  | Customer Rep |  |
| Signed |  |  |  |  |  |  |  | Print |  |  |  |  | York Int’l Rep |  |
|  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |