## Sheet1
Date:
Facility Name and Location:
Preliminary Questions
FACILITY & HVAC SYSTEM
Total building conditioned area (sq.ft):
Summer/Winter Setpoints (T [F], %RH):
Days/Hours of operation:
Facility type (office bulding, shopping center, school, etc.): | Scroll To Choose | Floor Number
Type of HVAC system (central with AHU/RTU, fancoils, etc.): | Scroll To Choose | Scroll To Choose
Return air- ducted or plenum:
Outdoor air- ducted or plenum:
| Scroll To Choose | Scroll To Choose
| Scroll To Choose | Scroll To Choose
| Scroll To Choose | Scroll To Choose
COST OF ENERGY
Annual Building/HVAC electricity bill:
Monthly Building/HVAC electricity bill:
Cost of cooling (kwh and peak kW): | $/kW = $/kWh =
Type of Heating (water, gas, steam, electric): | Scroll To Choose
Heating energy tariff:
Advanced Questions
Number of AHU/RTU:
Total AHU/RTU air flow (CFM / CMH):
Outside air dampers- manual or motorized: | Scroll To Choose
Location of AHU/RTU (roof, indoor machine rooms): | Scroll To Choose
Total exhaust air flow (kitchen, kitchenette, toilet, storage, etc.):
Does building have electricity meters for the HVAC system? (Plant COP tracked by BAS?)
Typical daily occupancy (number of people/floor):
Weight Load limit on the instalation area?
Does building have CO2 sensors installed?
If possible, provide HVAC drawings, and equipment design data tables
SIM or Ethernet access