## Slide 1: Energy Efficiency FanSave
HVAC Sales School

## Slide 2: Energy Saving Calculator for Fans FanSave

## Slide 3: Opening the Workbook FanSave

## Slide 4: Opening the Workbook FanSave

## Slide 5: Opening the Workbook FanSave

## Slide 6: Input Data FanSave

## Slide 7: Input Data FanSave
Fan Data
  Fan Type
  Impeller Type
  Nominal Volume Flow
  Pressure Increase
  Efficiency
Transmission
  Efficiency
Motor & Supply Data
  Supply Voltage
  Motor Power
  Motor Efficiency

## Slide 8: Input Data FanSave
Operating Profile
  Annual Running Time
  Operating Time at Different Flow Rates (%)
Economic Data
  Currency
  Energy Price (per kWh)
  Investment Cost
  Interest Rate (%)
  Service Life (years)

## Slide 9: Results FanSave
Energy & Environmental
  Energy Consumed – Graph (kWh)

## Slide 10: Results FanSave
Energy & Environmental
  Saving Percentage (%)
  Annual Energy Consumption (kWh)
  Annual Energy Saving (kWh)
  Annual CO2 Reduction (kg)
Economic Results
  Annual Money Saving
  Payback Period
  Net Present Value

## Slide 11: Rules of Thumb FanSave
For Nominal Volume Flow use ~ 1,500 CFM per HP
  CFM = HP x 1,500
For Pressure Increase use the following:
  1 to 25 HP ≤ 2 inches
  30 to 75 HP ≤ 2.5 inches
  100 to 125 HP ≤ 3 inches
  150 to 200 HP ≤ 4 inches
  250 HP and up = 5 inches
Look to Motor and Supply Data for calculated motor HP requirement and make sure it is ≤ actual motor HP