## Slide 1: Energy Efficiency PumpSave
HVAC Sales School

## Slide 2: Energy Saving Calculator for Pumps PumpSave
System Data
  Liquid Density
  Static head
Pump Data
  Nominal Flow Volume
  Nominal head
  Maximum head
  Efficiency
Existing Control Method
Motor Data
  Motor Power
  Supply Voltage
  Motor Efficiency

## Slide 3: Opening the Workbook PumpSave

## Slide 4: Opening the Workbook PumpSave

## Slide 5: Opening the Workbook PumpSave

## Slide 6: Input Data PumpSave
System Data
  Liquid Density
  Static head
Pump Data
  Nominal Flow Volume
  Nominal head
  Maximum head
  Efficiency
Existing Control Method
Motor Data
  Motor Power
  Supply Voltage
  Motor Efficiency

## Slide 7: Input Data PumpSave
System Data
  Liquid Density
  Static head
Pump Data
  Nominal Flow Volume
  Nominal head
  Maximum head
  Efficiency
Existing Control Method
Motor Data
  Motor Power
  Supply Voltage
  Motor Efficiency

## Slide 8: Input Data PumpSave
Operating Profile
  Annual Running Time
  Operating Time at Different Flow Rates (%)
Economic Data
  Currency
  Energy Price (per kWh)
  Investment Cost
  Interest Rate (%)
  Service Life (years)

## Slide 9: Results PumpSave
Energy & Environmental
  Energy Consumed – Graph (kWh)

## Slide 10: Results PumpSave
Energy & Environmental
  Saving Percentage (%)
  Annual Energy Consumption (kWh)
  Annual Energy Saving (kWh)
  Annual CO2 Reduction (kg)
Economic Results
  Annual Money Saving
  Payback Period
  Net Present Value

## Slide 11: Rules of Thumb PumpSave
For Nominal Volume Flow use ~ 40 GPM per HP
  GPM = HP x 40
For Pump Efficiency use ~ 75%
For Nominal Head start with 60 feet
For Maximum Head start with 70 feet
For Static (Friction) Head, start with 20 feet
Look to Motor and Supply Data for calculated motor HP requirement and make sure it is ≤ actual motor HP
If not, you can try adjusting Nominal Head and/or Nominal Flow to get closer